Series 641

Multi-Directional Specifications

Part 1 - General

1.01 DESCRIPTION

A.	General

1.	Furnish and install operable partitions and suspension system.  Provide all labor, materials, tools, equipment, and services for operable walls in accordance with provisions of contract documents.

1.02 RELATED WORK BY OTHERS

A.	Preparation of opening will be by General Contractor.  Any deviation of site conditions contrary to approved shop drawings must be called to the attention of the architect.

B.	All header, blocking, support structures, jambs, track enclosures, surrounding insulation, and sound baffles as required in 1.04 Quality Assurance.

C.	Pre-punching of support structure in accordance with approved shop drawings.

D.	Paint or otherwise finishing all trim and other materials adjoining head and jamb of operable partitions.

1.03 SUBMITTALS

A.	Complete shop drawings are to be provided prior to fabrication indicating construction and installation details.  Shop drawings must be submitted within 60 days after receipt of signed contract.

1.04 QUALITY ASSURANCE

A.	Preparation of the opening shall conform to the criteria set forth per ASTM E557 Standard Practice for Architectural Application and Installation of Operable Partitions

B.	The partition STC (Sound Transmission Classification) shall be achieved per the standard test methods ASTM E90.

C.	Noise isolation classifications shall be achieved per the standard test methods ASTM E336 and ASTM E413.

D.	Noise Reduction Coefficient (NRC) ratings shall be per ASTM C423.

1.05 PRODUCT DELIVERY, STORAGE, AND HANDLING

A.	Proper storage of partitions before installation and continued protection during and after installation will be the responsibility of the General Contractor.

1.06 WARRANTY

A.	Partition system shall be guaranteed for a period of two years against defects in material and workmanship, excluding abuse.

Part 2 - Products

2.01 ACCEPTABLE MANUFACTURERS

A.	Upon compliance with all of the criteria specified in this section, Manufacturers wishing to bid products equal to the product specified must submit to the architect 10 days prior to bidding complete data in support of compliance and a list of three past installations of products similar to those listed.  The submitting manufacturer guarantees the proposed substituted product complies with the performance items specified and as detailed on the drawings.

2.02 MATERIALS

A.	Product to be top supported HUFCOR® Series 641 by Kwik-Wall individual, multi-directional panels, phone 217-522-5553.

1.	Panels shall be nominally 4” [102] thick and to 48” [1219] in width.

2.	Panel faces shall be laminated to appropriate substrate to meet the STC requirement in 2.04 Acoustical Performance.

a.	Optional substrate material (Not all substrates are available for all STC ratings.  Consult your Kwik-Wall Distributor for more information):

Steel (24ga to 16ga)

Non-steel

b.	Horizontal Splice:  Heights over 16'3" [4953] with non-steel faces require a structural splice placed at approximately 12’3” [3734] from the floor.

3.	Frames shall be of precision welded 16 gauge [1.42mm] – 14 gauge [2.0] thickness painted steel with corner gusset supports and horizontal steel supports with integral factory applied aluminum vertical edge and face protection.

Optional: Face finish shall wrap around the vertical panel edges and provide no protective vertical face trim.

4.	Vertical sound seals shall be of tongue and groove configuration, ensure panel-to-panel alignment and prevent sound leaks between panels.

5.	Horizontal top seals shall be retractable, provide 1” [25] nominal operating clearance, and exert upward force when extended. All panels, including pass door panels and lever closure panels must have retractable top and bottom seals.

Optional:  Horizontal top seals shall be fixed continuous contact dual 4-finger vinyl.

6.	Horizontal bottom seals shall be retractable, provide up to 2” [51] nominal operating clearance, and exert downward force when fully extended.   Optional:

a.	Horizontal bottom seals shall be lift & set, retractable, provide 4” [101] nominal operating clearance, and exert minimum 97 lbs. [44 kg] downward force when fully extended.

b.	Horizontal bottom seals shall be fixed continuous contact 4-finger vinyl.

7.	Horizontal trim shall be of aluminum.

B.	Weight of the panels shall be 7.8-13.6 lbs./sq. ft. [37.8.2-66.4 kg/sq.m] based on options selected.

C.	Suspension system:

1.	For panels to 1000 lbs. [455 kg] or 22’2” [6.75m]:  Track shall be of clear anodized architectural grade extruded aluminum alloy 6063-T6.  Track design shall provide precise alignment at the trolley running surfaces and provide integral support for adjoining ceiling, soffit, or plenum sound barrier.  Track shall be connected to the structural support by pairs of minimum 3/8” [10] dia. threaded steel hanger rods.  Pairs of rods are directly attached to the track, no single point attachment allowed.  L, T, or X intersections shall be factory assembled and welded.

a.	Each panel shall be supported by two 2-wheeled counter-rotating horizontal carriers.  Wheels to be of precision ground steel ball bearings with heat treated and hardened races encased with molded polymer tires.

2.	For panels 1000-1500 lbs. [455-680 kg]:  Track shall be of clear anodized architectural grade extruded aluminum alloy 6063-T6 or extruded steel with self sorting curve & divert radius stacking.  Track design shall provide precise alignment at the trolley running surfaces and provide integral support for adjoining ceiling, soffit, or plenum sound barrier.  Track shall be connected to the structural support by pairs of minimum 1/2” [13] dia. threaded steel hanger rods.  Pairs of rods are directly attached to the track, no single point attachment allowed.

- Aluminum tracks to provide L, T, or X intersections shall be factory assembled and welded Each panel shall be supported by two 2-wheeled counter-rotating horizontal carriers.  Wheels to be of precision ground steel ball bearings with heat treated and hardened races encased with molded polymer tires, steel banded and reinforced.

- Steel tracks to provide self-sorting curve and divert radius curves. Wheels to be of precision ground steel ball bearings with heat treated and hardened races and steel tires.

3.	For panels 1500-3000 lbs. [680-1364 kg]:  Track shall be of 1/4” [6] formed black painted steel connected to the structural support by pairs of minimum 1/2” [13] threaded steel hanger rods.  Track trim shall be clear anodized aluminum. Carriers to have four steel wheels with precision ground radial bearings.  Bearings are inserted into a steel tire.  The steel tire rim fully captures the bearing.  Carriers may be programmed for self-directing and sorting.

4.	Optional tracks may be used providing the height and weight limits are within manufacturers guidelines.  See page 6 “Optional Tracks”.

5.	Plenum closure (by others):  Design of plenum closure must permit lifting out of header panels to adjust track height.  Plenum closure required for optimum sound control of partition.

D.	Finishes

1.	Face finish shall be:  (select as required):

a.	Factory applied reinforced vinyl fabric with woven backing, weighing not less than 20 oz. per lineal yard [620 g/m].  Color shall be selected from manufacturer’s standard color selectors.

b.	Standard upgrade fabrics (color shall be selected from manufacturer’s standard color selector):

(1)	Factory applied vertical ribbed carpet (N.R.C. .20)

(2)	Factory applied stain resistant fabric

c.	Optional:

(1)	Customer selected (requires factory approval for manufacturing compatibility)

(2)	Unfinished for field decoration

(3)	Wood veneer (factory installed on trimmed models)

(4)	High pressure laminate (factory installed on trimmed models)

2.	Exposed metal trim and seal color shall be (select from manufacturer’s Standard Trim selector):

a.	Lamb’s Wool (standard)

b.	Brown (standard)

c.	Gray (standard)

d.	Custom powder coated (optional upgrade for metal trim)

3.	Aluminum track shall be clear anodized

a.	Optional upgrade:

(1)	Custom anodized

(2)	Custom powder coated

E.	Available Accessories/Options

1.	ADA compliant pass door of the same thickness and construction as the basic panels. Pass door panel legs require gas-piston driven bottom seals that provide 80lbs – 120lbs downward force to maintain stability during door operation.  Pass door leaf has perimeter trim to protect face finish and to provide visual identification as required by International Building Code.  Pass door leaf incorporates a self-adjusting retractable bottom seal providing sound control when door is closed. Face mounted stabilizing foot bolts not accepted.

a.	Automatic door closer

b.	Door lock

c.	Exit sign (consult your local code)

d.	Prepped for window

e.	Peep hole

2.	Inset chalk/writing/projection surfaces

3.	Inset tackboards (not available with STC 56)

4.	Inset eraser pocket

5.	Segmented faces

6.	Finished end cover

7.	Pocket doors

2.03 OPERATION

A.	Panels shall be manually moved from the storage area, positioned in the opening, and seals set.

B.	Retractable Horizontal Seals

1.	Retractable horizontal seals shall be activated by a removable quick-set operating handle located approximately 42” [1067] from the floor in the panel edge.

2.	Top and bottom retractable seals shall be operated simultaneously.

3.	Seal activation requires approximately a 190 degree turn of the removable handle.

Optional 4” bottom seals:  Seal activation requires a lift/drop motion of the removable handle.

C.	Final partition closure to be by lever closure panel with expanding jamb which compensates for minor wall irregularities and provides a minimum of 250 lbs. [113.4 kg] seal force against the adjacent wall for optimum sound control.  The jamb activator shall be located approximately 45” [1143] from the floor in the panel face and be accessed from either side of the panel.  The jamb is equipped with a mechanical rack and pinion gear drive mechanism and shall extend 4”-6” [102-152] by turning the removable operating handle.

D.	Stack/Store Panels

1.	Retract seals with removable operating handle and move to storage area.

2.04 ACOUSTICAL PERFORMANCE

A.	Acoustical performance shall be tested at a laboratory accredited by the National Voluntary Laboratory Accreditation Program (NVLAP) and in accordance with ASTM E90 Test Standards.  Standard panel construction shall have obtained an STC rating of ____ (select as required):  52, 54, 56.

(Not all substrates are available in all STC ratings)

1.	Complete, unaltered written test report is to be made available upon request.

Part 3 - Execution

A.	Installation.  The complete installation of the operable wall system shall be by an authorized factory-trained installer and be in strict accordance with the approved shop drawings and manufacturer’s standard printed specifications, instructions, and recommendations.

B.	Cleaning

1.	All track and panel surfaces shall be wiped clean and free of handprints, grease, and soil.

2.	Packaging and other installation debris shall be removed to onsite waste collection area, provided by others.

C.	Training

1.	Installer shall demonstrate proper operation and maintenance procedures to owner’s representative.

2.	Operating handle and owners manuals shall be provided to owner’s representative.

###

For additional information contact:

KWIK-WALL Company

4650 Industrial Ave.

Springfield, Illinois 62703

Phone: 217-522-5553 or 800-280-5945 (United States and Canada only)

Fax: 217-522-1170 or 800-290-5945 (United States and Canada only)

Website: www.kwik-wall.com

Email: kwinfo@kwik-wall.com