**3050 TECHNICAL DATA 3000 Series panels. Continuously Hinged/ Electric**

**KWIK-WALL... One Source for Wall Systems.** KWIK-WALL’s 3000 Series - Steel Panel operable

Half Panel Closure

wall systems answer the challenge for space division needs posed by multi-purpose room layouts. Years of continuing research and development have produced many outstanding features!

KWIK-WALL's Model 3050 Electric Wall Systems are operated between the stacking location and installed position by an electric operator, which connects to the lead panel by a roller chain. Individual panels are hinged together to form a continuous panel train. The 3000 Series - Steel Panel construction features panels that are


4" [101.6] thick, manufactured of a durable

roll-formed steel frame and standard steel skins for maximum durability and sound control.

**SOUND CONTROL…**

KWIK-WALL’s 3000 Series - Steel Panel is a complete line of acoustically rated wall systems that are designed and manufactured to meet the most demanding sound control requirements. Sound Transmission Class (STC) ratings from 43 STC to 56 STC have been tested and certified in

an independent acoustical laboratory in

accordance with ASTM E 90 and ASTM E 413 test procedures. The STC ratings represent a single number expression of the effectiveness of an operable wall in preventing the passage of

L-Jamb Closure

transmitted sound in the range\* of 125 Hz to 4,000 Hz. For assistance with designing room division applications using Operable, Glass or Accordion wall systems, please contact your local KWIK-WALL distributor.

\*The average human ear has an audibility range from 125 Hz to 4,000 Hz.Levels in excess of 65 dB to 70 dB are generally too loud for ordinary speech communication. When the sound pressure exceeds 120 dB, it normally passes the threshold of pain.

**1**

**e millimeters. Contact your local visit www.kwik-wall.com**

**07-15**

**Operable Partitions 10 22 26 (10650)**

***MODEL 3050 PART 1 - GENERAL SPECIFICATIONS***

**1.01 WORK INCLUDED**

A. Operable Wall System shall be furnished, installed and serviced by KWIK-WALL's authorized distributor, in compliance with the architectural drawings and specifications contained herein.

**1.02 RELATED WORK**

A. Structural Support: Structural support system required for suspending the operable wall shall be designed, installed and pre-punched by others, in accordance with ASTM E 557 and KWIK-WALL's shop drawings.

B. Insulation: Sound insulation and bafles for the plenum area above the track system, under the permanent floor, inside air ducts passing over or around the operable wall, and in permanent walls adjoining the operable wall system shall be by others, in accordance with ASTM E 557.

C. Opening Preparation: Proper and complete preparation of the operable wall system opening shall be by others in accordance with ASTM E 557, and shall include floor leveling; plumbness of adjoining permanent walls; substrate and / or ceiling tile enclosures for the track system; and the painting and finishing of trim and other materials adjoining the head and jamb areas of the

operable wall.

**1.03 SYSTEM DESCRIPTION**

A. The operable wall system shall consist of Continuously Hinged panels that are electrically operated, featuring panels hinged together in a continuous panel train.

B. The operable wall system shall consist of acoustically rated panels tested in accordance with ASTM E 90 and ASTM E 413 test procedures, and shall have achieved a STC rating as specified herein (see "Acoustical Performance" article listed under

Part 2 - Products).

**1.04 QUALITY ASSURANCE**

A. The operable wall shall have been tested in an independent acoustical testing laboratory in accordance with ASTM E 90 and ASTM E 413 test procedures.

B. The operable wall panel construction and finish materials shall consist of Class A rated materials in accordance with ASTM E 84.

C. The operable wall shall be installed by KWIK-WALL's authorized distributor in accordance with ASTM E 557.

**1.05 REFERENCES**

A. ASTM E 90: Laboratory Measurement of Airborne-Sound Transmission Loss of Building Partitions.

B. ASTM E 413: Determination of Sound Transmission Class (STC).

C. ASTM E 557: Architectural Application and Installation of Operable Partitions.

D. ASTM E 84: Surface Burning Characteristics of Building Materials.

E. ASTM A 653: Specification for General Requirements for Steel Sheet, Alloy-Coated (Galvannealed) by the Hot Dip Process.

**1.06 SUBMITTALS**

A. KWIK-WALL shall provide written technical information and related detail drawings, which demonstrate that the products comply with contract documents for each type of operable partition specified.

B. KWIK-WALL shall provide detailed engineering drawings featuring track plan, panel elevation, horizontal and vertical details, wiring diagram and beam punching template as required.

C. KWIK-WALL shall provide a written test report of the independent acoustical testing laboratory certifying the attainment of the specified STC rating, upon request.

D. KWIK-WALL shall provide written instructions specifying the proper operation and maintenance of the operable wall system.

E. KWIK-WALL shall provide a color selector demonstrating the manufacturer's selections of the specified finish material. Samples shall consist of actual swatches of the specified finish material.

**1.07 DELIVERY, STORAGE AND HANDLING**

A. Panels shall be individually wrapped in a protective plastic covering to keep panels clean during delivery, storage

and handling.

B. Panels shall be stored on edge and above the floor on cushioned blocking in a dry and ventilated area, protected

from humidity and temperature extremes.

**1.08 SEQUENCING / SCHEDULING**

A. Beam Punching: KWIK-WALL shall provide beam punching template drawing detailing the anchor locations for

the suspended track system (as required for Drop Rod Mounting), as required for the fabrication and installation of structural overhead support by others.

B. Track Installation: Scheduling of operable wall track installation shall occur after structural overhead support

has been properly and completely fabricated and installed by others.

C. Panel Installation: Operable wall panel installation shall occur after fixed wall substrate construction is properly and completely installed by others, as required to protect panels from ongoing adjacent construction.

**1.09 WARRANTY**

A. KWIK-WALL shall warrant each 3050 partition and

its component parts to be free from defects in material and workmanship for a period of five (5) years from the date

of delivery to the original purchaser, when installed by an authorized KWIK-WALL distributor (see actual warranty on Page 12 for details and limitations).

F. ASTM C 423: Standard Test Method for Sound Absorption and Sound Absorption Coeficients by the Reverberation Room Method.

G. CCC-W-408A: Federal Specification which applies to Vinyl Coated Wall Coverings.

H. CFFA-W-101-D: Chemical Fabrics and Film Association Quality Standard for Vinyl Coated Fabric Wall Coverings.

I. NFPA 70: Standard for the safe installation of electrical wiring **2** and equipment.

**Dimensions in [ ] are millimeters. Contact your local distributor for additional assistance or visit www.kwik-wall.com** **04-18**

**Operable Partitions 10 22 26 (10650)**

***MODEL 3050 PART 2 - PRODUCT SPECIFICATIONS***

**2.01 ACCEPTABLE MANUFACTURER**

A. Operable walls shall be Series 3000, Model 3050 Continuously Hinged / Electric as manufactured by KWIK-WALL Company.

**2.02 PANEL CONSTRUCTION**

A. Panel Dimensions: Standard panel dimension shall be a nominal 4" [101.6] thick.

B. Panel Frame: Steel frame shall be 16-gauge galvanneal steel, which meets or exceeds ASTM A 653 requirements. Frame shall be all-welded construction with steel corner supports and

cross-bracing reinforcement. Top horizontal cross member shall be a minimum 7-gauge structural rectangular steel tube designed to accept a spring-loaded floating carrier. Panel frame shall be

Class A rated, fire retardant, non-combustible and non-corrosive in accordance with ASTM E 84.

stack area off center to the side of the partition. All electric operator components shall be modularized for easy replacement in the field without removing the surrounding components

and NFPA 70 approved. Access panels to the operator unit and return sprockets are required for adjustment and

maintenance purposes, as provided by others. Electric operator shall consist of (select):

1. Standard Speed Reducer Drive: consisting of a 50 to 1 ratio

worm gear, adjustable clutch and 1 H.P. (.746 kw) electric motor. Speed reducer drive system shall be capable of moving a wall system up to 600 ft.2 (56 m2).

2. Optional Hydraulic Drive: consisting of a hydraulic pressure relief mechanism capable of limiting the closing force of the wall system. Hydraulic drive system shall be operated by a 1 H.P. (.746 kw) electric motor.

C. Panel Skins: Panel skins shall be Class A rated in accordance with ASTM E 84. Panel skin material shall consist of (select):

1. Standard Steel Skins: consisting of minimum 22-gauge tension-leveled galvanneal steel, pressure laminated to a structural acoustical backer and mechanically-joined to the steel frame to form a rigid, unitized and structural panel.

2. Optional Acoustical Substrate: consisting of structural acoustical substrate pressure laminated to both sides of the steel frame to form a rigid, unitized and structural panel.

**2.04 STACK ARRANGEMENTS**

A. Stack Type: Panel storage configuration shall be Center Stack, consisting of panels stacked on center to the wall's

installed position.

B. Stack Quantity: Panels shall be stored at (select): 1. Standard One End: on one end of the wall run.

2. Optional Both Ends: on both ends of the wall run.

D. Panel Hinges: Panel hinges shall be architectural grade, full leaf **2.05 FINISHES**

butt hinges. Hinges shall be attached to steel frome utilizing a steel A. Finish Material Type: Panel finish material shall be Class A mounting bracket welded to frame. Bottom hinge shall be located rated in accordance with ASTM E 84, consisting of (select): 7'-0" (2.13 m) A.F.F. for partition heights over 16'-0" [4.88]. 1. Vinyl: consisting of Type II, reinforced vinyl weighing

E. Panel Weight: Maximum panel weight shall be 5.9 - 12.9 lb./ft.2 21 oz./lin. yd. (651 g/lin. m). Vinyl shall meet or exceed (29 - 63 kg/m2) depending on STC rating, size and options selected. CCC-W-408A and CFFA-W-101-D quality standards.

2. Optional Upgrade Fabric: consisting of fade and tear resistant fabric that resists water-based stains weighing 13

**2.03 OPERATION**

A. Operation: Operation shall be Continuously Hinged / Electric, oz./lin. yd. (403 g/lin. m).

consisting of panels hinged together forming a continuous panel 3. Optional Basics Carpet: consisting of acoustically absorbent,

train. Panels shall be top-supported by one (1) carrier in each panel, consisting of four (4) permanently lubricated, precision

non-woven needle punch fibers fused to prevent fraying and

unraveling of material weighing 28.5 oz./lin. yd.(884 g/

ground ball bearing polished steel wheels riding on a steel tread

surface. Panels shall be operated between stacking location and lin.m). Basics Carpet shall achieve a minimum NRC (Noise installed position by an electric operator, which connects to lead Reduction Coeficient) rating of .20 (applied over gypsum

panel by #50 roller chain. A manual override shall be included in substrate) in accordance with ASTM C 423.

the event of a power failure to allow the wall system to 4. Optional Upgrade Carpet: consisting of acoustically

be manually operated. absorbent, non-woven needle punch fibers fused to prevent

B. Drive System: Electric operator shall consist of (select): fraying and unraveling of material weighing 23 oz./lin. yd.

1. Standard Electric Motor: consisting of a 1 H.P. (.746 kw), 115 (713 g/lin. m). Upgrade Carpet shall achieve a minimum NRC volt, 1 phase, 60 Hz capacitance wound electric motor. (Noise Reduction Coeficient) rating of .25 (applied over

2. Optional Electric Motor: consisting of a 1 H.P. (.746 kw), 208 gypsum substrate) in accordance with ASTM C 423. volt, 3 phase, 60 Hz capacitance wound electric motor. 5. Optional Unfinished: consisting of panels with exposed

C. Activation of the operator shall be controlled by a two (2) position steel skins for field applied wall covering or painting. (low voltage) key switch to arm the system. Control of the operator B. Finish Material Supplier: Finish material shall be (select): shall consist of two (2) stations with extend and retract constant-

1. Standard Factory Supplied: from manufacturer's standard

selection of finish materials, as specified.

pressure push button switches. Switches shall be low voltage, wired

in series, and located on opposite sides and ends of the partition.

Electric operator shall include safety devices (limit switches) to 2. Optional Customer Supplied: from customer's selection of finish automatically shut off the operator at the fully extended and fully material, by others, and as approved by KWIK-WALL Company. retracted position. Operator shall be located at the opposite end of

**3**

**Dimensions in [ ] are millimeters. Contact your local distributor for additional assistance or visit www.kwik-wall.com** **04-18**

**Operable Partitions 10 22 26 (10650)**

**2.06 PERIMETER TRIM AND SEALS**

A. Vertical Trim and Seals: Panels shall have Trimless vertical astragals containing flexible vinyl seals and incorporate reversible tongue-and-groove-type configurations for positive interlocking with adjacent panels. Vertical trim shall not be permitted on the panel faces, resulting in a minimal groove appearance between adjacent panels.

***MODEL 3050 PART 2 - PRODUCT SPECIFICATIONS***

B. STC Rating: The operable wall acoustical performance rating shall be based on (select):

1. Standard Steel Skins: with a standard rating of

52 STC, or optional ratings of 46 STC, 50 STC or 56 STC.

(Note: Not available with optional Wood Veneer or

High-Pressure Laminate.)

2. Optional Acoustical Substrate: with optional ratings of 43 STC, 46 STC, 48 STC or 50 STC.

B. Horizontal Top Trim and Seals: Top seals shall consist of flexible vinyl sweep seals installed on both sides of the panel. The seals shall consist of a compressed bulb between two (2) fingers of vinyl. Top seal shall be fixed, providing continuous-contact flexible vinyl sealing against the bottom flange of the overhead track.

C. Horizontal Bottom Trim and Seals: Bottom seals shall consist of multiple fingers of flexible vinyl for positive contact and sealing with various floor surfaces. Bottom seal type shall be (select):

1. Standard Adjustable Bottom Seals: consisting of field adjustable, continuous-contact vinyl sweep seals with 2” [50.8] nominal height with 3/4" [19] of nominal adjustment.

D. Horizontal and Vertical Panel Trim: All exposed panel trim and hinges shall be of one (1) similar color (select):

1. Dark Bronze. 2. Grey.

**2.07 CLOSURE SYSTEMS**

A. Initial Closure System: The lead panel (the first panel exiting the stack) shall form a seal vertically against a wall surface. The initial closure shall be accomplished by a Fixed Ball Seal or an Adjustable-Compensating Closure containing two (2) continuous-contact, flexible vinyl bulb seals installed along the vertical edge of the lead panel for positive compression against a rigid wall surface. Initial closure panel shall contain.

B. Final Closure System: The final closure panel (the last panel exiting the stack) shall form a seal vertically against a Vinyl seal or a rigid wall surface. Final closure shall be accomplished by a L-Jamb Closure or an Optional Half Panel that does not require any attachment to the permanent wall. The Half Panel

and its two (2) immediately adjacent panels will incorporate adjustable bottom seals, and the first panel adjacent to the half panel shall contain a flush pull handle. The type of final closure panel shall be (select):

1. Optional Manual Half Panel Pivot Closure: consisting of a Half Panel requiring manual activation when extending or retracting the operable wall. A half

panel inter-lock switch shall prevent the operable wall from being retracted until the half panel and adjacent panel are partially folded.

(Note: Minimum of five (5) panels required for Manual Half Panel Pivot Closure system.)

2. Optional Automatic Half Panel Pivot Closure: consisting of a Half Panel attached to a mechanical closure device with a 50 to 1 ratio worm gear and 1 H.P. (.746 kw) electric motor allowing the operable wall to extend or retract automatically.

**2.08 ACOUSTICAL PERFORMANCE**

A. Certification: The operable wall shall have been tested in an independent acoustical testing laboratory in accordance with ASTM E 90 and ASTM E 413 test procedures.

**2.09 PANEL ACCESSORIES**

A. Accessories including Single Pass Doors, Keyed Cylinder Locks, Concealed Door Closures, Room Viewers, Exit Signs, Dry Marker Writing Surfaces,

Recessed Eraser Trays, Vision Lites, Tack Surfaces, and Pocket Doors shall be compatible with other accessories and options, furnished and installed by the operable wall manufacturer as noted on submitted shop drawings.

**2.10 SAFETY DEVICES**

A. Optional safety devices by Guardian Personnel Protection System™. The following safety devices shall shut the operable wall off immediately

and prevent any movement until the system is reset at the control box (select):

1. Lead Sensing EDGE: Consisting of a Lead Sensing Edge (approximately 5'-0" (1.52 m long)) located on lead edge of the operable wall. Lead Sensing Edge shall be wired to a wireless transmitter when activated an alarm will sound and shut the operable wall system off immediately.

2. Floor Pressure Mats: consisting of molded vinyl mats (1/8" [3.18] thick) located in the

pocket area and shall shut the operable wall system off immediately if a person or object

is placed on mat. Floor mats shall only require 1 lb./ft.2 (4.88 kg/m2) of pressure to activate.

(Note: Mat sizes may require additional width to pocket area.)

**2.11 TRACK SYSTEM**

A. Type H.D. Continuously Hinged / Electric Steel Track: Continuously Hinged / Electric Steel track running surface shall be made

of cold-rolled, high carbon steel tread surfaces to facilitate ease of panel movement and

operation. Track system shall not require a panel guide to straighten out the wall system.

B. The steel tread surface shall be contained within

a continuous structural track housing extruded from aluminum, which prohibits deterioration caused by rust or corrosion. The track housing shall have a

durable anodized clear satin finish, which resists scratching, color fading and flaking. The

track housing shall utilize grooves and interlocking steel pins for positive alignment of adjacent track sections, and shall be reinforced overhead by a heavy-duty steel bracket made of hot-rolled, 3/8" [10]

thick plate steel. Aluminum track housing shall include an integral nut slot to accept a hardened steel square nut to facilitate attachment of each steel all-rod and splice brackets to the overhead structural

support. **4**

**Dimensions in [ ] are millimeters. Contact your local distributor for additional assistance or visit www.kwik-wall.com** **04-18**

**Operable Partitions 10 22 26 (10650)**

***MODEL 3050 PART 2 - PRODUCT SPECIFICATIONS***

**2.12 CARRIER SYSTEM**

A. Type H.D. Continuously Hinged / Electric Steel Wheel Carrier: Each Continuously Hinged / Electric panel shall be top supported by one (1) carrier, utilizing a 5 8" [16] diameter pendant bolt.

/

Each top carrier shall consist of four (4) permanently lubricated, precision ball bearing polished steel wheels, as required for smooth and quiet operation. Floating bottom carrier shall consist of two (2) offset, permanently lubricated, precision ground ball bearing steel wheels riding in a structural rectangular steel tube with 3 8" [10] diameter steel guide rails. Carrier shall utilize a constant-force spring allowing it to travel back and forth within the steel tube.

/

***MODEL 3050 PART 3 - EXECUTION* 3.01 INSPECTION**

A. Proper and complete preparation of the operable wall system opening shall be by others in accordance with the architectural drawings, KWIK-WALL's shop drawings and ASTM E 557. Any deviation of the actual opening from these specifications shall be called to the attention of the architect prior to the installation of the operable wall.

B. Deficiencies in the operable wall opening shall be corrected by others prior to installation of the operable wall.

**3.02 INSTALLATION**

A. The operable wall system shall be installed by KWIK-WALL's authorized distributor.

B. The operable wall shall be installed in accordance with KWIK-WALL's written instructions, shop drawings and ASTM E 557 installation guidelines.

**2.13 SUSPENSION SYSTEM**

A. Mounting System: The track shall be suspended by steel Drop Rods, consisting of adjustable rods of grade 2, 3 8" [10] diameter threaded steel all-rod provided with 3 8" [10] serrated steel nuts.

/

/

**3.03 ADJUSTING AND CLEANING**

A. The operable wall panels and track system shall

be adjusted and cleaned in accordance with KWIK-WALL's written instructions.

**3.04 PROTECTION**

A. The operable wall panels shall be stored in the stacked (retracted) position prior to acceptance by the owner's representative.

**3.05 DEMONSTRATION**

A. KWIK-WALL's authorized distributor shall demonstrate proper operation and explain

proper and necessary maintenance requirements of the operable wall system to the owner's representative.

***OPTIONS AND ACCESSORIES***

KWIK-WALL offers a full complement of accessories for customizing any operable

wall system to meet the specific needs of the most demanding project.

[2134]

\*7'-0" PASS DOOR

3

EXIT

7 6 4

4'-0"

[1219]

2

1 5

VARIES

**ACCESSORIES** 1. Single Pass Door

2. Pass Door Vision Lite 3. Exit Sign

4. Writing Surface

5. Recessed Eraser Tray 6. Panel Vision Lite

7. Tack Surface

8. Pocket Door (Not shown)

\*\*PASS DOOR WIDTH **Notes:**

1. \* 7' - 8" (2.34m) minimum panel fabrication height required. 2. \*\* Panel width minus 12" [305] equals pass door width.

3. For complete specifications and details of KWIK-WALL Accessories, please visit our website at www.kwik-wall.com. **5**

**Dimensions in [ ] are millimeters. Contact your local distributor for additional assistance or visit www.kwik-wall.com** **04-18**

**Operable Partitions 10 22 26 (10650)**

1'-6" [457] Minimum

2"

[51]

Nom.

***MODEL 3050 VERTICAL DETAIL***

***STANDARD SPEED REDUCER DRIVE***

2 1/2"

[64]

5" [127] Minimum Net Clearan~~ce~~ 1'-2" [356] Minimum Net Clearance

Structural Support by others.

Electrical Control Box supplied & installed by K.W.Co.

#50 Roller Chain

1" [25]

5"

[127]

Speed Reducer Drive Unit w/ 1 H.P. (.746 kw) Electric Motor by K.W.Co.

Ceiling by others.

6 7/16" [164]

3 5/8" Nominal [92]

**Optional**

Panel Fabrication Height

Standard-Adjustable Bottom Seal.

**H.D. Continuously Hinged/Electric**

**Steel track and Carrier**

**Notes:**

1. Adjustable Bottom Seals are standard on Final Closure Panel. 2. Maximum wall opening size shall not exceed 600ft.2 (56m2)

Optional-Floating Bottom Seal.

3 1/2"

[89]

Nom.

Omni-Roller.

**Floating Bottom Seal**

**6**

**Dimensions in [ ] are millimeters. Contact your local distributor for additional assistance or visit www.kwik-wall.com** **04-18**

**Operable Partitions 10 22 26 (10650)**

5"

***MODEL 3050 VERTICAL DETAIL OPTIONAL HYDRAULIC DRIVE***

4 1/2" [114] Minimum Net Clearance

Panel Fabrication Height

1'-6" [457] Minimum

[127]

Hydraulic Tank Steel Structural Support by

2 1/2" others.

[64] 1'-6" [457] Minimum Net Clearance

1'-3" [381]

Structural Support by others.

Electrical Control Box supplied & installed by

K.W.Co~~.~~

#50 Roller Chain

1" [25]

Ceiling by others.

6 7/16" [164]

Hydraulic Drive Unit w/ 1 H.P. (.746 kw) Electric Motor by K.W.Co.

3 5/8" Nominal

[92] 4' [101.6]

Nominal

Standard-Adjustable Bottom Seal.

2"

[51]

Nom.

**H.D. Continuously Hinged/Electric**

**Steel track and Carrier**

**Notes:**

1. Adjustable Bottom Seals are standard on Final Closure Panel.

Optional-Floating Bottom Seal.

Omni-Roller.

3 1/2"

[89]

Nom.

**Floating Bottom Seal**

**Optional**

**7**

**Dimensions in [ ] are millimeters. Contact your local distributor for additional assistance or visit www.kwik-wall.com** **04-18**

**07-1**

Operable Partitions **MODEL 3050 L-JAMB CLOSURE ELECTRIC WALL LAYOUT**

10 22 26 (10650)

A diagram of a building

Description automatically generated

**8**

**Dimensions in [ ] are millimeters. Contact your local distributor for additional assistance or visit www.kwik-wall.com** **04-18**

**Operable Partitions 10 22 26 (10650)**

***MODEL 3050 ELECTRIC WALL LAYOUT***

***MODEL 3050 ELECTRIC WALL LAYOUT***

L

C

C

\*\*1'-9" [533]

(1.03 m) 3'-4 1/2" \*\*

I

K

E

Reference Side

Fabrication Width

F

(1.04 m) 3'-5" \*\*

A

K

1'-6" \*\* [457]

L

Plan View **Notes:** \*\* Minimum net clearance dimensions required.

B C A

Panel Fabrication Height

\*

I

[356] \*\* 1'-2"

\*\*1'-2" [356]

5" [127]

Half Panel Pivot

Closure

Initial Closure

D

J H

Elevation View

G

**Notes:** \* For Panel Fabrication Heights up to 16'-0" (4.88 m) hinges will be located 9 78" [251] from bottom of panel, for heights over 16'-0"

/

(4.88 m) hinges will be located 7'-0" (2.13 m) from bottom of panel.

A. Speed Reducer or Hydraulic Drive System B. Steel Floating Carrier Assembly

C. H.D. Continuously Hinged / Electric Steel Track D. Adjustable-Compensating Closure

E. Extend / Retract Constant-Pressure Push Button Switches

F. Key Switch w/ Extend / Retract Constant-Pressure Push Button Switches

G. Bottom Seals: Adjustable, or Floating H. Full Mortise Hinged

I. Optional - Automatic Final Closure J. Flush Pull Handle

K. Flush Mounted Access Panels by others

(2'-0" (.61m) x 4'-0" (1.22m) recommended)

**9**

**Dimensions in [ ] are millimeters. Contact your local distributor for additional assistance or visit www.kwik-wall.com** **04-18**

**Operable Partitions 10 22 26 (10650)**

***MODEL 3050 STACK ARRANGEMENT***

Right Side

\*\*Pocket Width

Left Side

\* Stack Depth

**Standard Center Stack**

Panels are conveniently stored at one (1) or both ends and stacked "on-center” to the wall’s installed position.

**Stack Depth\***

The depth of the stack area, as required for panel storage, is dictated by the total number of panels in the wall system. KWIK-WALL’s Model 3050 - Steel Panels require 45 8" [117] per panel. To determine the stack depth, calculate as follows:

/

***Number of Panels x 45 8" [117] + 1" [25]***

***/***

\*Note: Additional stack depth is required for wall systems containing the following type of panels:

• Pocket Door(s): 6" [152]

\*\*Note: For wall systems that include Pocket Doors, please reference KWIK-WALL’s "3000 Series Pocket Door" brochure for pocket layout dimensions and applications.

**Pocket Width\*\***

The width of the pocket is determined by the widest panel in the wall run. For specification purposes, assume the widest panel is 4'-0" (122 cm) maximum. Pocket width may be calculated as follows:

*If Adjustable or Floating Bottom Seals are specified with:*

**Even number of panels =** Panel Width + 4" [102] on Left Side and + 7" [178] on the Right Side.

**Odd number of panels** = Panel Width +7" [178] on Left Side and + 4" [102] on Right Side.

**10**

**Dimensions in [ ] are millimeters. Contact your local distributor for additional assistance or visit www.kwik-wall.com** **04-18**

**Operable Partitions 10 22 26 (10650)**

***MODEL 3050 FINAL CLOSURE SYSTEM***

**Standard L-Jamb Closure**

For Continuously Hinged / Electric wall systems, final closure is accomplished by a L-Jamb Closure.

**A line with numbers and points

Description automatically generated**

**Optional Half Panel Closure**

For Continuously Hinged / Electric wall systems, final closure is accomplished by a half panel which pivots on an adjustable fulcrum plate attached to the finished floor. Designed specifically for Continuously Hinged walls, the Half Panel and its two (2) immediately adjacent panels will incorporate standard adjustable bottom seals.


1 2 3 4

**11**

**Dimensions in [ ] are millimeters. Contact your local distributor for additional assistance or visit www.kwik-wall.com** **04-18**

**Operable Partitions 10 22 26 (10650)**

***MODEL 3050 HORIZONTAL DETAILS TRIMLESS VERTICAL ASTRAGAL***



1" 1

[25] Half Panel Pivot Closure

2

Hinged Joint

3

Hinged Joint

4 4 3/4" Nominal

[121]

Adjustable-Compensating Closure

***MODEL 3050 PRODUCT GUIDE***

*Standard Steel Skin Construction*

***MODEL 3050 PRODUCT GUIDE***

*Optional Acoustical Substrate Construction*

STC Panel Thickness Max. Panel Rating (nominal) Weight lb./ft.2

Maximum Panel Height

Maximum Wall Width\*

STC Panel Thickness Max. Panel Rating (nominal) Weight lb./ft.2

Maximum Panel Height

Maximum Wall Width\*

46 4" [101.6]

50 4" [101.6]

52 4" [101.6]

56 4" [101.6]

8.5 (41 kg/m2)

9.5 (46 kg/m2)

9.5 (46 kg/m2)

12.9 (63 kg/m2)

24' - 2" [7.37]

24' - 2" [7.37]

24' - 2" [7.37]

24' - 2" [7.37]

99' - 9 3/8"

[31.41]

99' - 9 3/8"

[31.41]

99' - 9 3/8"

[31.41]

99' - 9 3/8"

[31.41]

43 4" [101.6]

46 4" [101.6]

48 4" [101.6]

50 4" [101.6]

5.9 (29 kg/m2)

6.6 (32 kg/m2)

7.5 (37kg/m2)

9.0 (44 kg/m2)

14 - 2" [4.31]

14 - 2" [4.31]

14 - 2" [4.31]

14 - 2" [4.31]

99' - 9 3/8"

[31.41]

99' - 9 3/8"

[31.41]

99' - 9 3/8"

[31.71]

99' - 9 3/8"

[31.71]

\* Estimated panel weights are for intermediate panels. Weight may vary due to substrate, size, or function of panel. Add 105 lbs. [47kg] to the pass door. Add 6 lbs. [3kg] per line ft height for expanders. Add 3.5 to 8 lbs. [1.6 to 3.6kg] per line ft for track.

\*\* Standard features can be modified, contact your Kwik-Wall distributor for the features you want.

\*\*\* Maximum Wall Width dimension is for partitions that stack at one (1) end, if partition stacks at both ends maximum wall width = 150'-0" [45.72].

\*\*\*\*Optional Wood Veneer or High-Pressure Laminate only available as Acoustical Substrate Construction.

**12**

**Dimensions in [ ] are millimeters. Contact your local distributor for additional assistance or visit www.kwik-wall.com** **04-18 5**

**07-1**

**Operable Partitions 10 22 26 (10650)**

***MODEL 3050 OPERABLE WALL LIMITED WARRANTY***

KWIK-WALL Company warrants each 3050 operable wall and its component parts to be free from defects in material and workmanship for a period of five (5) years from date of delivery to the original purchaser, when installed by an authorized KWIK-WALL distributor. KWIK-WALL Company reserves the right to have authorized personnel inspect any part alleged to be defective and to refuse any returned material unless the return was previously authorized by KWIK-WALL.

This warranty does not apply to any damage or deterioration caused by abuse or failure to provide reasonable and necessary maintenance. All field applied finishes, accessories or product modifications are specifically excluded under this warranty. KWIK-WALL’s liability hereunder is limited to the replacement of any partition or component part found to be defective. Labor charges are the responsibility of the customer.

***KWIK-WALL SHALL NOT BE LIABLE FOR ANY INCIDENTAL OR CONSEQUENTIAL DAMAGES. ALL OTHER WARRANTIES EXPRESSED OR IMPLIED INCLUDING ANY IMPLIED WARRANTY OF MERCHANTABILITY ARE HEREBY EXPRESSLY EXCLUDED.***

Some states do not allow the exclusion or limitation of consequential or incidental damages, so the above limitation or exclusion may not apply to you.

This warranty gives you specific legal rights, and you may also have other rights which vary from state to state.

Note:

Due to ongoing research and development, some variation may occur in product specifications and design. Please refer to your actual KWIK-WALL shop drawing(s) for exact product dimensions and specifications.

***Distributed By:***

**4650 INDUSTRIAL AVE. SPRINGFIELD, IL 62703 USA • P: 217-522-5553 • F: 217-522-1170 • www.kwik-wall.com** **004-18**