MODEL 3050 — Continuously-Hinged Electric Panels

SECTION 10 22 26 OPERABLE PARTITIONS

SECTION 10 22 39 FOLDING PANEL PARTITIONS

# PART 1 – GENERAL

## WORK INCLUDED

    - Operable Wall System shall be furnished, installed and serviced by wall manufacturer’s authorized distributor, in compliance with the architectural drawings and specifications contained herein.

## RELATED WORK

    - Structural Support: Structural support system required for suspending the operable wall shall be designed, installed and pre-punched by others, in accordance with ASTM E 557 and manufacturer’s shop drawings.

    - Insulation: Sound insulation and baffles for the plenum area above the track system, under the permanent floor, inside air ducts passing over or around the operable wall, and in per-manent walls adjoining the operable wall system shall be by others, in accordance with ASTM E 557.

    - Opening Preparation: Proper and complete preparation of the operable wall system opening shall be by others in accordance with ASTM E 557, and shall include floor leveling; plumbness

of adjoining permanent walls; substrate and / or ceiling tile enclosures for the track system; and the painting and finishing of trim and other materials adjoining the head and jamb areas of the operable wall.

## SYSTEM DESCRIPTION

    - The operable wall system shall consist of Continuously Hinged panels that are electrically operated, featuring panels hinged together in a continuous panel train.

    - The operable wall system shall consist of acoustically rated panels tested in accordance with ASTM E 90 and ASTM E 413 test procedures, and shall have achieved a STC rating as spec-ified herein (see “Acoustical Performance” article listed under Part 2 – Products).

## QUALITY ASSURANCE

    - The operable wall shall have been tested in an independent acoustical testing laboratory in accordance with ASTM E 90 and ASTM E 413 test procedures.

    - The operable wall panel construction and finish materials shall consist of Class A rated materials in accordance with ASTM E 84.

    - The operable wall shall be installed by the manufacturer’s au-thorized distributor in accordance with ASTM E 557.

## REFERENCES

    - ASTM E 90: Laboratory Measurement of Airborne-Sound Trans-mission Loss of Building Partitions.

    - ASTM E 413: Determination of Sound Transmission Class (STC).

    - ASTM E 557: Architectural Application and Installation of Opera-ble Partitions.

    - ASTM E 84: Surface Burning Characteristics of Building Materi-als.

    - ASTM A 653: Specification for General Requirements for Steel Sheet, Alloy-Coated (Galvannealed) by the Hot Dip Process.

    - ASTM C 423: Standard Test Method for Sound Absorption and Sound Absorption Coefficients by the Reverberation Room Method.

    - CCC-W-408A: Federal Specification which applies to Vinyl Coat-ed Wall Coverings.

    - CFFA-W-101-D: Chemical Fabrics and Film Association Quality Standard for Vinyl Coated Fabric Wall Coverings.

    - NFPA 70: Standard for the safe installation of electrical wiring and equipment.

## SUBMITTALS

    - Manufacturer shall provide written technical information and related detail drawings, which demonstrate that the products comply with contract documents for each type of operable partition specified.

    - Manufacturer shall provide detailed engineering drawings featuring track plan, panel elevation, horizontal and vertical de-tails, wiring diagram and beam punching template as required.

    - Manufacturer shall provide written test report of the indepen-dent acoustical testing laboratory certifying the attainment of the specified STC rating, upon request.

    - Manufacturer shall provide written instructions specifying the proper operation and maintenance of the operable wall sys-tem.

    - Manufacturer shall provide a color selector demonstrating the manufacturer’s selections of the specified finish material.

Samples shall consist of actual swatches of the specified finish material.

## DELIVERY, STORAGE AND HANDLING

    - Panels shall be individually wrapped in a protective plastic covering to keep panels clean during delivery, storage and han-dling.

    - Panels shall be stored on edge and above the floor on cush-ioned blocking in a dry and ventilated area, protected from humidity and temperature extremes.

## SEQUENCING / SCHEDULING

    - Beam Punching: Manufacturer shall provide beam punch-ing template drawing detailing the anchor locations for the suspended track system (as required for Drop Rod Mounting), as required for the fabrication and installation of structural overhead support by others.

MODEL 3050 — Continuously-Hinged Electric Panels

SECTION 10 22 26 OPERABLE PARTITIONS

SECTION 10 22 39 FOLDING PANEL PARTITIONS

    - Track Installation: Scheduling of operable wall track installation shall occur after structural overhead support has been properly and completely fabricated and installed by others.

    - Panel Installation: Operable wall panel installation shall occur after fixed wall substrate construction is properly and com-pletely installed by others, as required to protect panels from ongoing adjacent construction.

## WARRANTY

    - Manufacturer shall warrant each 3050 partition and its compo-nent parts to be free from defects in material and workman-ship for a period of ten(10) years from the date of delivery to the original purchaser, when installed by an authorized KWIK-WALL distributor. (Contact your local KWIK-WALL distributor or KWIK-WALL Company for complete warranty information.)

# PART 2 – PRODUCTS

## ACCEPTABLE MANUFACTURER

    - Operable walls shall be Series 3000, Model 3050 Continuously Hinged / Electric as manufactured by KWIK-WALL Company.

## PANEL CONSTRUCTION

    - Panel Dimensions: Standard panel dimension shall be a nomi-nal 4” [101.6] thick.

    - Panel Frame: Steel frame shall be 16-gauge galvanneal steel, which meets or exceeds ASTM A 653 requirements. Frame shall be all-welded construction with steel corner supports and cross-bracing reinforcement. Top horizontal cross member shall be a minimum 7-gauge structural rectangular steel tube designed to accept a spring-loaded floating carrier. Panel

frame shall be Class A-rated, fire-retardant, non-combustible, and non-corrosive in accordance with ASTM E 84.

    - Panel Skins: Panel skins shall be Class A rated in accordance with ASTM E 84. Panel skin material shall consist of (select):

      - Steel Skins: consisting of minimum 22-gauge tension-lev-eled galvanneal steel, pressure laminated to a structural acoustical backer and mechanically joined to the steel

frame to form a rigid, unitized and structural panel.

      - Acoustical Substrate: consisting of structural acoustical substrate pressure laminated to both sides of the steel frame to form a rigid, unitized and structural panel.

    - Panel Hinges: Panel hinges shall be architectural grade, full-leaf butt hinges. Hinges shall be attached to the steel frame utiliz-ing a steel mounting bracket welded to frame. Bottom hinge shall be located 7’-0” (2.13 m) A.F.F. for partition heights over

16’-0” (4.88 m).

    - Panel Weight: Maximum panel weight shall be 5.9 – 12.9 lb. / ft.2 (29 – 63 kg / m2) depending on STC rating, size and options selected.

## OPERATION

    - Operation: Operation shall be Continuously Hinged / Electric, consisting of panels hinged together forming a continuous panel train. Panels shall be top-supported by one (1) carrier in each panel, consisting of four (4) permanently lubricated,

precision-ground, ball-bearing, polished steel wheels riding on a steel tread surface. Panels shall be operated between the stacking location and installed position by an electric operator, which connects to the lead panel by #50 roller chain. A manual override shall be included in the event of a power failure to allow the operable wall system to be manually operated.

    - Drive System: Electric motor shall consist of (select):

      - Standard Electric Motor: consisting of a 1 Horsepower (.746 kw), 115 volt, 1 Phase, 60 Hz capacitance wound mo-tor.

      - Optional Electric Motor: consisting of a 1 Horsepower (.746 kw), 208 volt, 3 Phase, 60 Hz capacitance wound motor.

    - Activation of the operator shall be controlled by a two (2) posi-tion (low voltage) key switch to arm the system. Control of the operator shall consist of two (2) stations with extend and retract constant-pressure push-button switches. Switches shall be

low voltage, wired in series, and located on opposite sides and ends of the partition. The electric operator shall include safety devices (limit switches) to automatically shut off the operator at the fully extended and fully retracted positions. The operator shall be located at the opposite end of stack area, off-center to the side of the partition. All electric operator components shall be modularized for easy replacement in the field without re-moving the surrounding components and NFPA 70 approved. Access panels to the operator unit and return sprockets are re-quired for adjustment and maintenance purposes, as provided by others. Electric operator shall consist of (select):

      - Speed Reducer Drive: consisting of a 50 to 1 ratio worm gear, adjustable clutch and 1 H.P. (.746 kw) electric motor. The speed reducer drive system shall be capable of mov-ing a wall system up to 600 ft.2 (56 m2).

      - Hydraulic Drive: consisting of a hydraulic pressure relief mechanism capable of limiting the closing force of the wall system. The hydraulic drive system shall be operated by a 1 H.P. (.746 kw) electric motor.

## STACK ARRANGEMENTS

    - Stack Type: Panel storage configuration shall be Center Stack, consisting of panels stacked on the centerline to the wall’s installed position.

    - Stack Quantity: Panels shall be stored at (select):

      - One End: on one end of the wall run.

      - Both Ends: on both ends of the wall run.

MODEL 3050 — Continuously-Hinged Electric Panels

SECTION 10 22 26 OPERABLE PARTITIONS

SECTION 10 22 39 FOLDING PANEL PARTITIONS

## FINISHES

    - Finish Material Type: Panel finish material shall be Class rated in accordance with ASTM E 84, consisting of (select):

      - Vinyl: consisting of Type II, reinforced vinyl weighing 21 oz.

/ lin. yd. (651 g / lin. m). Vinyl shall meet or exceed CCC-W-408A and CFFA-W-101-D quality standards.

      - Fabric: consisting of fade and tear-resistant fabric that resists water-based stains, weighing 13 oz. / lin. yd. (403 g

/ lin. m).

      - Carpet: consisting of acoustically absorbent, non-woven needle-punch fibers fused to prevent fraying and unrav-eling of material weighing 28.5 oz. / lin. yd. (884 g / lin. m). Basics Carpet shall achieve a minimum NRC (Noise

Reduction Coefficient) rating of .20 (applied over gypsum substrate) in accordance with ASTM C423.

      - Upgrade Carpet: consisting of acoustically absorbent, non-woven needle punch fibers fused to prevent fraying and unraveling of material weighing 23 oz. / lin. yd. (713 g

/ lin. m). Upgrade Carpet shall achieve a minimum NRC (Noise Reduction Coefficient) rating of .25 (applied over gypsum substrate) in accordance with ASTM C423.

      - Unfinished: consisting of panels with exposed steel skins for field applied wallcovering or painting.

    - Finish Material Supplier: Finish material shall be (select):

      - Factory Supplied: from manufacturer’s standard selec-tion of finish materials, as specified.

      - Customer Supplied: from the customer’s selection of fin-ish material, by others, and as approved by KWIK-WALL Company.

    - Finish Material Application: Finish material shall be (select):

      - Factory Applied: by operable wall manufacturer. Cus-tomer-supplied finish material samples must be sub-mitted to manufacturer for testing and approval prior to acceptance and application.

      - Field Applied: by others.

## PERIMETER TRIM AND SEALS

    - Vertical Trim and Seals: Panels shall have Trimless vertical astragals containing flexible vinyl seals and incorporate a reversible tongue-and-groove-type configuration for positive interlocking with adjacent panels. Vertical trim shall not be permitted on the panel faces, resulting in a minimal groove appearance between adjacent panels.

    - Horizontal Top Trim and Seals: Top seals shall consist of flexible vinyl sweep seals installed on both sides of the panel. The seals shall consist of a compressed bulb between two (2) fingers of vinyl. The top seal type shall be fixed, consisting of continu-ous-contact flexible vinyl, sealing against the bottom flange of the overhead track.

    - Horizontal Bottom Trim and Seals: Bottom seals shall consist of multiple fingers of flexible vinyl for positive contact and sealing with various floor surfaces. Bottom seal type shall be:

      - Adjustable Bottom Seals: consisting of field-adjustable, continuous-contact vinyl sweep seals with 2” [50.8] nomi-nal height with 3/4” [19] of nominal adjustment.

C. Horizontal and Vertical Panel Trim: All exposed panel trim and hinges shall be of one (1) similar color, as selected from manufacturer’s standard colors.

## CLOSURE SYSTEMS

    - Initial Closure System: The lead panel (the first panel exit-ing the stack) shall form a seal vertically against a rigid wall surface. The initial closure shall be accomplished by an

Adjustable-Compensating Closure containing two (2) continu-ous-contact, flexible vinyl bulb seals installed along the vertical edge of the lead panel for positive compression against a rigid wall surface. The initial closure panel shall contain a flush pull handle on each side.

    - Final Closure System: The final closure panel (the last panel exiting the stack) shall form a seal vertically against a rigid wall surface. Final closure shall be accomplished by a Half Panel that does not require any attachment to the permanent wall. The Half Panel and its two (2) immediately adjacent panels will incorporate adjustable bottom seals, and the first panel

adjacent to the half panel shall contain a flush pull handle. The type of final closure panel shall be (select):

      - Manual Half Panel Pivot Closure: consisting of a Half Panel requiring manual activation when extending or retracting the operable wall. A half panel inter-lock limit switch shall prevent the operable wall from being retract-ed until the half panel and adjacent panel are partially folded.

(Note: Minimum of five (5) panels required for Manual Half Panel Pivot Closure system.)

      - Automatic Half Panel Pivot Closure: consisting of a Half Panel attached to a mechanical closure device with a 50 to 1 ratio worm gear and 1 Horsepower (.746 kw) electric motor, allowing the operable wall to extend or retract automatically.

(Note: Minimum of eight (8) panels required for Automat-ic Half Panel Pivot Closure system.)

Note: Optional Automatic Bottom Seals are not available in conjunction with Final Closure panel(s).

## ACOUSTICAL PERFORMANCE

    - Certification: The operable wall shall have been tested in an independent acoustical testing laboratory in accordance with ASTM E 90 and ASTM E 413 test procedures.

MODEL 3050 — Continuously-Hinged Electric Panels

SECTION 10 22 26 OPERABLE PARTITIONS

SECTION 10 22 39 FOLDING PANEL PARTITIONS

    - STC Rating: The operable wall acoustical performance rating shall be based on (select):

      - Steel Skins: 46 STC, 50 STC, 52 STC, 56 STC.

(Note: Not available with optional Wood Veneer or High-Pressure Laminate.)

      - Optional Acoustical Substrate: with optional ratings of 43 STC, 46 STC, 48 STC or 50 STC.

## PANEL ACCESSORIES

    - Accessories, including Single Pass Doors, Keyed Cylinder Locks, Concealed Door Closures, Room Viewers, Exit Signs, Dry Marker Writing Surfaces, Recessed Eraser Trays, Vision Lites, Tack Surfaces, and Pocket Doors shall be compatible with other ac-cessories and options, furnished and installed by the operable wall manufacturer as noted on submitted shop drawings.

## SAFETY DEVICES

- Optional safety devices by Guardian Personnel Protection Sys-tem™. The following safety devices shall shut the operable wall off immediately and prevent any movement until the system is reset at the control box (select):

  - Lead Sensing Edge: consisting of a Lead Sensing Edge (approx-imately 5’-0” (1.52 m long)) located on lead edge of the operable wall. Lead Sensing Edge shall be wired to a wireless transmitter when activated an alarm will sound and shut the operable wall system off immediately.

  - Floor Pressure Mats: consisting of molded vinyl mats (1/8” [3.18] thick) located in the pocket area and shall shut the operable wall system off immediately if a person or object is placed on mat. Floor mats shall only require 1 lb./ft.2 (4.88 kg/m2) of pres-sure to activate.

(Note: Mat sizes may require additional width to pocket area.)

## TRACK SYSTEM

    - Type 850 H.D. Continuously Hinged / Electric Steel Track: The Continuously Hinged / Electric Steel track running surface shall be made of cold-rolled, high-carbon steel tread surfaces to facilitate ease of panel movement and operation. The track system shall not require a panel guide to straighten out the wall system.

    - The steel tread surface shall be contained within a continu-ous structural track housing extruded from aluminum, which prohibits deterioration caused by rust or corrosion. The track housing shall have a durable anodized clear satin finish, which resists color fading and flaking. The track housing shall utilize grooves and interlocking steel pins for positive alignment of adjacent track sections, and shall be reinforced overhead by a

heavy-duty steel bracket made of hot-rolled, 3/8” [10] thick plate steel. Aluminum track housing shall include an integral nut

slot to accept a hardened steel square nut to facilitate attach-ment of each steel all-rod and splice brackets to the overhead structural support.

## CARRIER SYSTEM

    - Type H.D. Continuously Hinged / Electric Steel Wheel Carrier: Each Continuously Hinged / Electric panel shall be top support-ed by one (1) carrier, utilizing a 5/8” [16] diameter pendant bolt. Each top carrier shall consist of four (4) permanently lubricated, precision ball-bearing polished steel wheels, as required for smooth and quiet operation. Floating bottom carrier shall con-sist of two (2) offset, permanently lubricated, precision-ground ball bearing steel wheels riding in a structural rectangular steel tube with 3/8” [10] diameter steel guide rails. The carrier shall utilize a constant-force spring allowing it to travel back and forth within the steel tube.

## SUSPENSION SYSTEM

    - Mounting System: The track shall be suspended by steel Drop Rods, consisting of adjustable rods of grade 2, 3/8” [10] diameter threaded steel all-rod provided with 3/8” [10] serrated steel nuts.

# PART 3 – EXECUTION

## INSPECTION

    - Proper and complete preparation of the operable wall system opening shall be by others in accordance with the architectural drawings, manufacturer’s shop drawings, and ASTM E 557. Any deviation of the actual opening from these specifications shall be called to the attention of the architect prior to the installa-tion of the operable wall.

    - Deficiencies in the operable wall opening shall be corrected by others prior to installation of the operable wall.

## INSTALLATION

    - The operable wall system shall be installed by manufacturer’s authorized distributor.

    - The operable wall shall be installed in accordance with manu-facturer’s written instructions, shop drawings and ASTM E 557 installation guidelines.

## ADJUSTING AND CLEANING

    - The operable wall panels and track system shall be adjusted and cleaned in accordance with manufacturer’s written in-structions.

## PROTECTION

    - The operable wall panels shall be stored in the stacked (retract-ed) position prior to acceptance by the owner’s representative.

MODEL 3050 — Continuously-Hinged Electric Panels

SECTION 10 22 26 OPERABLE PARTITIONS

SECTION 10 22 39 FOLDING PANEL PARTITIONS

## DEMONSTRATION

    - The operable wall manufacturer’s authorized distributor shall demonstrate proper operation and explain proper and neces-sary maintenance requirements of the operable wall system to the owner’s representative.

For additional information contact:

KWIK-WALL Company 900 S. Cain St.

Clinton, IL 61727

Phone: 217-522-5553 or 800-280-5945

(United States and Canada only) Fax: 217-522-1170 or 800-290-5945

(United States and Canada only)

Website: www.kwik-wall.com Email: info@kwik-wall.com

Note:

Due to ongoing research and development, some variations may occur in product specifications.

6.26